## Sheet1
Yes
No
[6 empty] | Report Review Aid for Physical Risk Reports | N/A
| Property Name |  |  |  | Loan Number
| Reviewer's Name |  |  |  | Date of Review
This Report Review Aid is provided by Freddie Mac Multifamily only as guidance for use by our Optigo Lenders while reviewing third party reports. This guidance is for informational purposes only, and is intended to be used in conjunction with, and not as a replacement for, each Optigo Lender's review of the applicable provisions of the Multifamily Seller/Servicer Guide as it may be updated from time to time. All provisions of the Guide with respect to such reports remain in full force and effect, unless modified in writing by Freddie Mac.
Section I - General Information, Documentation and Certification
Inspection date occurred no more than 30 days prior to the report date
Report date is within 6 months prior to the date of delivery of the full underwriting package
Site Statistics data matches the seller/servicer provided and other underwriting information - Construction date, renovation date, acreage, units, total parking, type of parking, etc.
Documentation - All documents noted as "Attached" are attached to the report - renovation scope of work, information provided by the borrower, inspector/reviewer's resume, etc.
Data Collection and Records Inquiry - All “No” responses are appropriate based on the provided underwriting information and responses in Section III and all violations that are considered to be life/safety issues or significant deficiencies are entered into the "Violations" section in Section III.
Reliance is provided to Freddie Mac using the standardized reliance language (see end of this guide)
Form is signed and dated by the consultant
Section II - Unit Details
Full inspection included:
|  | • | 10% of all residential units to include:
|  |  | - | 50% of vacant units, and
|  |  | - | 50% of down units* (more required if conditions are not typical in units inspected)
* a down unit is any unit that cannot be brought back into service with routine maintenance
|  | • | 100% of all commercial units
The unit type/mix is the same as the one in the appraisal
The "Number of units inspected" table is consistent with the "Unit Inspection Information" section
Uncertified or Unpermitted Units and/or Modifications - If "Yes" is selected on the form, the unit numbers are listed and the issue(s) are adequately described
Section III - Property Condition Assessment | Form 1104 - Section III - Property Condition Assesment
All items with "4 – Deteriorated" or "5 – Unacceptable" rating noted have repairs listed
All recommended repairs or deficiencies have an associated repair and cost to cure if they cannot be addressed by routine repairs and maintenance. The consultant also notes any deficiencies that require further investigation to develop a repair scope of work.
Problematic Materials & Conditions | Form 1104 - Section III - Property Condition Assesment
Galvanized and polybutylene piping deficiencies identified and cost to cure provided as appropriate
Electrical deficiencies identified and cost to cure provided
|  | • | Sub-60 amp service - if consultant recommends keeping sub-60 service in place, a load calculation in accordance with NEC Article 220, Sections I-III must be provided
|  | • | If consultant recommends keeping sub-60 service in place, a load analysis in accordance with National Electrical Code (NEC) guidelines must be provided
|  | • | Edison base/T-type fuses - overload protection must be circuit breakers or S-type (tamper proof) fuses
|  | • | Aluminum wiring - consultant must opine on branch wiring terminations and determine if they:
|  |  | - | Indicate safe conditions
|  |  | - | Represent a "Permanent Repair" as defined by CPSC (Copalum or Alumiconn)
|  |  | - | Are code-compliant
|  | • | Stab-Lok breakers:
|  |  | - | History of repairs/failures at the property
Other problematic materials; conditions are analyzed based on current operations, historical operations, industry knowledge, class action lawsuits, governmental recalls, etc. with costs to cure provided OR if recommendation is to allow the problem material or equipment to remain, the consultant has provided adequate justification
|  | • | Consider carve-out language related to future failures of the problem materials or equipment
|  | • | Consider verification that insurance coverage is not affected by the presence of the problem material or condition
|  | • | Consider opinion from appraiser if value is affected by problematic materials/conditions
|  | • | Carve-out for aluminum wiring may be waived if connections meet CPSC “Permanent Repair” definition or a Priority
Repair is required in the Commitment to such standard, and there is no insurance exclusion for aluminum wiring
|  | • | Carve-outs for Stab-Lok breakers, galvanized piping, and polybutylene piping may be waived if
remediation/replacement as a Priority Repair or reserves included in the Replacement Reserve table, and there is
no insurance exclusion for galvanized/polybutylene piping or Stab-Loks
Safety & Security Devices
Items selected are described in the Description box
Property Grounds, Building Exteriors and Systems
Each component is described and its condition is noted
Dwelling Units, Commercial Units and Building Interiors
Residential units: each component is described and its condition is noted
Commercial spaces are described with conditions noted
Common spaces are described with conditions noted
Wood Damaging Insects | Form 1104 - Section III - Property Condition Assesment
Evidence of wood-damaging insects noted with costs identified to repair any damage
Fair Housing | Form 1104 - Section III - Property Condition Assesment
Any Fair Housing non-compliance issues are adequately described and a repair is identified to correct the deficiency
ADA | Form 1104 - Section III - Property Condition Assesment
Any ADA non-conformance issues are adequately described and a repair is identified to correct the deficiency
Seismic Risk | Form 1104 - Section III - Property Condition Assesment
If the PGA is 0.15g or greater, then a Seismic Risk Assessment ("SRA") meeting Chapter 64 must be provided.
|  | • | If no seismic risk factors are present at the Property, a Level 0 SRA is required.
|  | • | If any of the seismic risk factors are present (or if the Seller/Servicer cannot conclusively determine that none of the risk factors are present), a Level 1 SRA meeting the requirements of Chapter 64 must be provided
Capital Improvements | Form 1104 - Section III - Property Condition Assesment
If capital improvements are listed, responses to the following questions in Section I – Data Collection and Records Inquiry are appropriate:
|  | • | Was all available information related to planned capital improvements, inclusive of renovation/rehabilitation scope or work, and/or such work in progress reviewed?
|  | • | Were all significant maintenance reports, repair receipts and replacement items completed within the past 12 months, as well as elevator, boiler, and safety inspection records and certificates reviewed?
Budget and scope for any planned capital improvements are reviewed and compared to recommended repairs
Section IV - Environmental Site Assessment | Form 1104 - Section III - Property Condition Assesment
Environmental Summary | Form 1104 - Section III - Property Condition Assesment
Environmental investigation responses ("Acceptable", "Not Acceptable", "O&M required" or "Further testing required") align with the Transaction Screen and report narrative
Transaction Screen Questionnaire | Form 1104 - Section III - Property Condition Assesment
The areas of concern answered with "Yes" or "Unknown" in the transaction screen or government records/historical sources were properly described and appropriate resolutions and/or additional actions were provided on the 1108 form and in the report narrative
Asbestos-Containing Materials (ACM) | Form 1104 - Section III - Property Condition Assesment
All observed suspect friable and non-friable ACM identified and includes location, if it was damaged or not, and its potential for disturbance
O&M plan recommended if suspect ACMs were identified
If any suspect friable and non-friable ACM was damaged, the consultant discussed the findings further, recommended additional investigation, and/or categorized it as a repair and included associated costs
Mold | Form 1104 - Section III - Property Condition Assesment
A Moisture Management Plan (MMP) was recommended if any mold or moisture issues were identified in both Section III and/or Section IV
Identified mold issue incudes a description and remediation costs
Lead-Based Paint (LBP) | Form 1104 - Section III - Property Condition Assesment
If the Property's Certificate of Occupancy was issued prior to January 1, 1978:
|  | • | The consultant described the location and condition of all observed paint at the property
|  | • | The consultant recommended an O&M plan if comprehensive testing was not completed - Refer to Section 61.11(b) for acceptable testing methods
|  | • | Lead-based paint repairs, additional investigation, or remediation costs are included if recommended by consultant
If a "lead-free" certificate is provided by the borrower, the property does not need to test for LBP or develop an O&M plan if:
|  | • | The “lead-free” certificate has been issued by a qualified environmental professional in accordance with EPA, HUD or State requirements, and the Environmental Reviewer has reviewed all supporting documentation
Radon | Form 1104 - Section III - Property Condition Assesment
|  | • | The environmental consultant must determine if radon testing is warranted at the property. If testing is not warranted, the environmental consultant must provide their reasoning. Examples could include Property design, previous radon testing at the Property, radon testing data from environmental databases, research, or the consultant’s judgement and professional experience, including reference to the Environmental Protection Agency Map of Radon Zones designation
|  | • | If the environmental consultant concludes that testing is warranted, radon testing must be conducted pursuant to the Multifamily Radon Testing Requirements outlined in Exhibit 11, (Radon Testing and Mitigation Standards):
|  |  | - | A minimum of 10 percent of ground-contact units at the Property must be subject to the initial round of radon testing, with no fewer than one radon test per each building having ground-contact units, and
|  |  | - | Follow-up radon testing is only required to occur in each unit that tested at 4.0 pico Curies per liter of air (pCi/L) or greater during the initial round of testing
|  | • | All radon testing must be managed by the environmental consultant, who must be an “Environmental Professional” as that term is defined in 40 CFR § 312.10, and who must ensure compliance with state and local requirements governing radon testing and mitigation
|  | • | If radon mitigation is required pursuant to Exhibit 11, Radon Testing and Mitigation Standards, or is otherwise recommended by the environmental consultant, the environmental consultant must include in the environmental report a description of what mitigation methods will be used
|  | • | The environmental consultant must review any mitigation contract(s) and comment on the appropriateness of the scope, cost and schedule for the required work
Section V - List of Repairs and Overall Property Condition | Form 1104 - Section III - Property Condition Assesment
Summary of Repairs and Violations
Additional Investigation(s) are identified. Additional investigation must be completed and findings incorporated/addressed in the report prior to submission of deal to Freddie Mac
Critical Repairs are identified and resolution/repair costs provided (corrections must be completed prior to commitment)
PR-90 Priority Repairs are identified and resolution/repair costs provided. Ensure repair scope and location is specific
Priority Repairs are identified and resolution/repair costs provided. Ensure repair scope and location is specific
For any significant work affecting life safety or basic building function, require scope of work and cost be confirmed with independent contractor bid.
Overall Property Condition Rating | Form 1104 - Section III - Property Condition Assesment
Overall Rating is supported by the rest of the report, including the photographs
Escrow for Required Repairs
Require an escrow if:
|  | • | The total estimated repair costs are $25,000 or greater; or
|  | • | The Overall Rating is “4 – Deteriorated" or "5 – Unacceptable”, or the Lender and/or Freddie Mac Inspection rating is “Deteriorated” or "Unacceptable"; or
|  | • | Priority Repairs likely to impact habitability are present:
|  |  | - | Structural repairs of foundation/building slabs, stairs, walkways, balconies, decks, and fire escapes
|  |  | - | Moisture and mold issues beyond typical housekeeping requiring a mold remediation professional or where a major building system is identified as the source of moisture
|  |  | - | Repairs to major building systems such as electrical (excluding in-unit systems, fixture replacement such as GFCI outlets, smoke detectors, etc.), HVAC, plumbing, down elevator(s)
Require a Priority Repair Remediation Plan from the borrower if:
|  | • | The total Priority Repairs exceeds $75,000; or
|  | • | Priority Repairs likely to impact habitability are present (see description above)
Section VI - Capital Needs Over the Loan Term
Ensure Replacement Reserves are provided for all non-priority needs and all components with a Remaining Useful Life of less
than the loan term
3% inflation factor used for reserve analysis
Replacement Reserves projected for the term of the Mortgage plus two years to a maximum of 12 years
Verify Required Documentation | Form 1104 - Section III - Property Condition Assesment
Adequate photographs to describe general conditions and record all problems
|  | • | Issues or deficiencies captured in photos are described in the report narrative and has a associated repair if necessary
|  | • | Photo caption contains adequate description (i.e. building/unit numbers provided, specific building component/system and issues noted, etc.)
Site plan provided
Database search results
Notification to local authorities regarding environmental test findings for results that exceed reportable levels
Resume for site inspector, report writer/reviewer, and environmental reviewer, if different from inspector
Site inspector and report writer/reviewer appear to be qualified
|  | • | Degree in architecture and/or related engineering field (structural, electrical, mechanical, civil or construction/cost estimating) from an accredited institution
|  | • | Minimum 5 years of appropriate experience (3 years with multifamily properties; 2 years with financial institutions)
|  | • | Equivalent Experience and Expertise Certificate provided for individuals who do not possess all required qualifications
|  | • | Firm has no conflict of interest with borrower, Optigo Lender or property buyer/seller
Environmental reviewer appears to be qualified
|  | • | Have expertise in the relevant areas listed in Chapter 66.18(b)
|  | • | Has additional expertise as necessary in relevant non-scope areas listed in 66.5
|  | • | Equivalent Experience and Expertise Certificate provided for individuals who do not possess all required qualifications
Provide Report to Appraiser | Form 1104 - Section III - Property Condition Assesment
Report provided to appraiser for consideration in economic evaluation of the Property
Reliance Language | Form 1104 - Section III - Property Condition Assesment
This report is for the use and benefit of, and may be relied upon by:
| (a) | the Seller/Servicer, Freddie Mac and any successors and assigns (“Lender”);
| (b) | independent auditors, accountants, attorneys and other professionals acting on behalf of Lender;
| (c) | governmental agencies having regulatory authority over Lender;
| (d) | designated persons pursuant to an order or legal process of any court or governmental agency;
| (e) | prospective purchasers of the Mortgage; and
| (f) | with respect to any debt (or portion thereof) and/or securities secured, directly or indirectly, by the Property which is the subject of this report, the following parties and their respective successors and assigns:
|  | • | any placement agent or broker/dealer and any of their respective affiliates, agents and advisors;
|  | • | any initial purchaser or subsequent holder of such debt and/or securities;
|  | • | any Servicer or other agent acting on behalf of the holders of such debt and/or securities;
|  | • | any indenture trustee;
|  | • | any rating agency; and
|  | • | any institutional provider from time to time of any liquidity facility or credit support for such financings.
In addition, this report, or a reference to this report, may be included or quoted in any offering circular, information circular, offering memorandum, registration statement, private placement memorandum, prospectus or sales brochure (in either electronic or hard copy format) in connection with a securitization or transaction involving such debt (or portion thereof) and/or securities.
Review Guide for Physical Risk Reports (10/2026)