## Sheet1
Yes
No
[6 empty] | Report Review Aid for SBL Physical Risk Reports | N/A
| Property Name |  |  |  | Loan Number
| Reviewer's Name |  |  |  | Date of Review
This Report Review Aid is provided by Freddie Mac Multifamily only as guidance for use by our Optigo Lenders while reviewing third party reports. This guidance is for informational purposes only, and is intended to be used in conjunction with, and not as a replacement for, each Optigo Lender's review of the applicable provisions of the Multifamily Seller/Servicer Guide as it may be updated from time to time. All provisions of the Guide with respect to such reports remain in full force and effect, unless modified in writing by Freddie Mac.
Section I - General Information, Documentation and Certification
Inspection date occurred no more than 30 days prior to the report date
Report date is within 6 months prior to the date of delivery of the full underwriting package
Site Statistics data matches the seller/servicer provided and other underwriting information - Construction date, renovation date, acreage, units, total parking, type of parking, etc.
Data Collection and Records Inquiry - All “No” responses are appropriate based on the provided underwriting information and responses in Section III
Reliance is provided to Freddie Mac using the standardized reliance language (see end of this guide)
Form is signed and dated by the consultant
Section II - Unit Details
Full inspection included:
|  | • | 10% of all residential units to include:
|  |  | - | 50% of vacant units, and
|  |  | - | 50% of down units* (more required if conditions are not typical in units inspected)
* a down unit is any unit that cannot be brought back into service with routine maintenance
|  | • | 100% of all commercial units
The unit type/mix is the same as the one in the appraisal
The "Number of units inspected" table is consistent with the "Unit Inspection Information" section
Uncertified or Unpermitted Units and/or Modifications - If "Yes" is selected on the form, the unit numbers are listed and the issue(s) are adequately described
Section III - Property Condition Assessment | Form 1104 - Section III - Property Condition Assesment
All items with Below Average or Inferior conditions noted have repairs listed
Problematic Materials & Conditions | Form 1104 - Section III - Property Condition Assesment
Galvanized and polybutylene piping deficiencies identified and cost to cure provided as appropriate
Electrical deficiencies identified and cost to cure provided
|  | • | Electrical capacity - Minimum unit amperage is 60 Amps, except in an SBL Top Market where the minimum is 40 Amps if all of the conditions in Guide section 62SBL.5(c) are met
|  | • | If consultant recommends keeping sub-60 service (sub-40 service in a Top Market) in place, a load analysis in accordance with National Electrical Code (NEC) guidelines must be provided
|  | • | Edison base/T-type fuses - overload protection must be circuit breakers or S-type (tamper proof) fuses
|  | • | Aluminum wiring - consultant must opine on branch wiring terminations and determine if they:
|  |  | - | Indicate safe conditions
|  |  | - | Are code-compliant
|  | • | Stab-Lok breakers:
|  |  | - | History of repairs/failures at the property
Other problematic materials; conditions are analyzed based on current operations, historical operations, industry knowledge, class action lawsuits, governmental recalls, etc. with costs to cure provided OR if recommendation is to allow the problem material or equipment to remain, the consultant has provided adequate justification
|  | • | Consider carve-out language related to future failures of the problem materials or equipment
|  | • | Consider verification that insurance coverage is not affected by the presence of the problem material or condition
|  | • | Consider opinion from appraiser if value is affected by problematic materials/conditions
Safety & Security Devices
Items selected are described in the Description box
Property Grounds, Building Exteriors and Systems
Each component is described and its condition is noted
Dwelling Units, Commercial Units and Building Interiors
Residential units: each component is described and its condition is noted
Commercial spaces are described with conditions noted
Common spaces are described with conditions noted
Wood Damaging Insects | Form 1104 - Section III - Property Condition Assesment
Evidence of wood-damaging insects noted with costs identified to repair any damage
Fair Housing | Form 1104 - Section III - Property Condition Assesment
Any Fair Housing non-compliance issues are adequately described and a repair is identified to correct the deficiency
ADA | Form 1104 - Section III - Property Condition Assesment
Any ADA non-conformance issues are adequately described and a repair is identified to correct the deficiency
Seismic Risk | Form 1104 - Section III - Property Condition Assesment
High risk seismic factors for properties with a PGA of 0.15g or greater have been evaluated
|  | • | If any of the high risk seismic factors are present (or if the Seller/Servicer cannot conclusively determine that none of the risk factors are present), a Level 1 Seismic Risk Analysis meeting the requirements of Chapter 64SBL must be provided
Capital Improvements | Form 1104 - Section III - Property Condition Assesment
If capital improvements are listed, responses to the following questions in Section I – Data Collection and Records Inquiry are appropriate:
|  | • | Was all available information related to planned capital improvements, inclusive of renovation/rehabilitation scope or work, and/or such work in progress reviewed?
|  | • | Was evidence of completed capital expenditures or construction costs reviewed?
Budget and scope for any planned capital improvements are reviewed and compared to recommended repairs
Section IV - Environmental Site Assessment | Form 1104 - Section III - Property Condition Assesment
Environmental Summary | Form 1104 - Section III - Property Condition Assesment
Environmental investigation responses ("Acceptable", "Not Acceptable", "O&M required" or "Further testing required") align with the Transaction Screen and report narrative
Transaction Screen Questionnaire | Form 1104 - Section III - Property Condition Assesment
The areas of concern answered with "Yes" or "Unknown" in the transaction screen or government records/historical sources were properly described and appropriate resolutions and/or additional actions were provided on the 1104 form and in the report narrative
Asbestos-Containing Materials (ACM) | Form 1104 - Section III - Property Condition Assesment
All observed suspect friable and non-friable ACM identified and includes location, if it was damaged or not, and its potential for disturbance
O&M plan recommended if suspect ACMs were identified
If any suspect friable and non-friable ACM was damaged, the consultant discussed the findings further, recommended additional investigation, and/or categorized it as a repair and included associated costs
Mold | Form 1104 - Section III - Property Condition Assesment
A Moisture Management Plan (MMP) was recommended if any mold or moisture issues were identified in both Section III and/or Section IV
Identified mold issue incudes a description and remediation costs
Lead-Based Paint (LBP) | Form 1104 - Section III - Property Condition Assesment
If the Property's Certificate of Occupancy was issued prior to January 1, 1978:
|  | • | The consultant described the location and condition of all observed paint at the property
|  | • | The consultant recommended an O&M plan if comprehensive testing was not completed - Refer to Section 61.9(b) for acceptable testing methods
|  | • | Lead-based paint repairs, additional investigation, or remediation costs are included if recommended by consultant
If a "lead-free" certificate is provided by the borrower, the property does not need to test for LBP or develop an O&M plan if:
|  | • | The “lead-free” certificate has been issued by a qualified environmental professional in accordance with EPA, HUD or State requirements, and the Environmental Reviewer has reviewed all supporting documentation
Section V - List of Repairs and Capital Needs Over the Loan Term | Form 1104 - Section III - Property Condition Assesment
Summary of Repairs and Violations
Additional Investigation(s) are identified. Additional investigation must be completed and findings incorporated/addressed in the report prior to submission of deal to Freddie Mac
Critical Repairs are identified and resolution/repair costs provided (corrections must be completed prior to commitment)
PR-90 Priority Repairs are identified and resolution/repair costs provided
Priority Repairs are identified and resolution/repair costs provided
Operational Repairs are identified; no costs needed
Overall Property Condition Rating/Capital Needs Over the Loan Term | Form 1104 - Section III - Property Condition Assesment
Overall Rating is supported by the rest of the report, including the photographs
Verify Required Documentation | Form 1104 - Section III - Property Condition Assesment
Adequate photographs to describe general conditions and record all problems
Site plan provided
Database search results
Notification to local authorities regarding environmental test findings for results that exceed reportable levels
Resume for site inspector, report writer/reviewer, and environmental reviewer, if different from inspector
Site inspector and report writer/reviewer appear to be qualified
|  | • | Degree in architecture and/or related engineering field (structural, electrical, mechanical, civil or construction/cost estimating) from an accredited institution
|  | • | Minimum 5 years of appropriate experience (3 years with multifamily properties; 2 years with financial institutions)
|  | • | Equivalent Experience and Expertise Certificate provided for unqualified individuals
|  | • | Firm has no conflict of interest with borrower, Optigo Lender or property buyer/seller
Environmental reviewer appears to be qualified
|  | • | Minimum of 3 years of appropriate experience if licensed; OR
|  | • | 5 years it not licensed and holding a bachelor's degree in a relevant discipline
|  | • | Equivalent Experience and Expertise Certificate provided for unqualified individuals
O&M plan(s) and MMP as required for all properties (may be separate from report)
Provide Report to Appraiser | Form 1104 - Section III - Property Condition Assesment
Report provided if there were material issues noted
Reliance Language | Form 1104 - Section III - Property Condition Assesment
This report is for the use and benefit of, and may be relied upon by:
| (a) | the Seller/Servicer, Freddie Mac and any successors and assigns (“Lender”);
| (b) | independent auditors, accountants, attorneys and other professionals acting on behalf of Lender;
| (c) | governmental agencies having regulatory authority over Lender;
| (d) | designated persons pursuant to an order or legal process of any court or governmental agency;
| (e) | prospective purchasers of the Mortgage; and
| (f) | with respect to any debt (or portion thereof) and/or securities secured, directly or indirectly, by the Property which is the subject of this report, the following parties and their respective successors and assigns:
|  | • | any placement agent or broker/dealer and any of their respective affiliates, agents and advisors;
|  | • | any initial purchaser or subsequent holder of such debt and/or securities;
|  | • | any Servicer or other agent acting on behalf of the holders of such debt and/or securities;
|  | • | any indenture trustee;
|  | • | any rating agency; and
|  | • | any institutional provider from time to time of any liquidity facility or credit support for such financings.
In addition, this report, or a reference to this report, may be included or quoted in any offering circular, information circular, offering memorandum, registration statement, private placement memorandum, prospectus or sales brochure (in either electronic or hard copy format) in connection with a securitization or transaction involving such debt (or portion thereof) and/or securities.
Review Guide for Physical Risk Reports (02/2023)